| Module | Anticoagulation management: patient’s guide to self-monitoring |
| --- | --- |
| Topic | Patient self-testing in practice |
| Content | Extra content – QA |
| Audience | Self-monitoring warfarin patient / HCP |
| Version | 1 |

How will the anticoagulant clinic make sure that your coagulometer is measuring your INR accurately?

It is essential that your coagulometer measures your INR accurately.  Therefore, the anticoagulant clinic will check its accuracy by comparing the INR result from your machine with a ‘known value’ at regular intervals.

This known value will be one of the following:

- The INR measured from a sample of blood taken from your arm which is measured on the hospital laboratory’s machine

- The INR from a drop of blood from your finger measured on the clinic’s coagulometer which has undergone it own external quality assurance

These values are compared before you start self-testing and then at each of your six-monthly review visits. The results should be within 0.4 units of each other.